MAINTENANCE CONDITION SURVEY CHECKLIST

INSPECTED BY:______________________________________      DATE:________________________

BUILDING NAME/LOCATION:__________________________________________________________ 

BUILDING # ________________  
YEAR BUILT/RENOVATED:______________________________

BRIEF BLDG. DESCRIPTION:___________________________________________________________

REFERENCES TO 7300-1:   Utilize these references to establish a more accurate, thorough, condition survey.  This set of references should be able to aid you in performing each 7300-1.  

1. A-C FOUNDATION & 2. A-B BASEMENTS

(1)  Foundation, type & spacing:_____________________________________________________________ 

(8)  Condition____________________________________________________________________________ 

(3)  Floor Joist., size, material, & spacing o/c___________________________________________________ 

(4)  Bottom of Joists off ground, inches, average________________________________________________ 

(5)  Adequate ventilation beneath building?____________________________________________________ 

(6)  Termite/Carpenter Ant Activity?_________________________________________________________ 

(7)  Drainage or evidence of flooding?________________________________________________________ 

(9)  Rotting or Decay______________________________________________________________________

(10)  Insulation___________________________________________________________________________

3. A-B CHIMNEYS

(1)  Chimney cap condition__________________________; Screen_________________________________ 

(2)  Type of construction (brick, metal, asbestos, etc.)____________________________________________

(3)  Mortar condition______________________________________________________________________ 

(4)  Liner condition_______________________________________________________________________ 

(5)  Roof to chimney seal___________________________________________________________________ 

(6)  Proper anchoring, snow/ice build-up protection______________________________________________ 

(7)  Proper height, downdrafts_______________________________________________________________ 

(8)  Drafting properly, cleanliness____________________________________________________________ 

(9)  Number of appliances per flue___________________________________________________________

(10) Number of flues______________________________________________________________________ 

(11) Overall condition_____________________________________________________________________

4. A-O CARPENTRY WORK

A.   Wall Sections (Exterior)

(1)  Distance from ground to bottom of wood structure___________________________________________ 

(2)  Last year painted (Ext.)_________________________________________________________________ 

(3)  Condition____________________________________________________________________________ 

(4)  Type of siding (Ext.)___________________________________________________________________ 

(5)  Insulation type and thickness ____________________________________________________________

1

B.,C.  Exterior Millwork, Exterior Trim

(1)  Material/Condition____________________________________________________________________

(2)  Last Year Painted_____________________________________________________________________

D.,E.,F.  Porch Posts, Steps, Floors

(1)  Material/Condition____________________________________________________________________ 

(2)  Hazards_____________________________________________________________________________ 

(3)  Proper Railing________________________________________________________________________ 

G.   Windows

(1)  Do all windows operate properly?________If not, which?_____________________________________ 

(2)  Types/material of windows______________________________________________________________

(3)  Need for weather stripping_________If so, which?___________________________________________ 

(4)  Need for storm windows________________________________________________________________ 

(5)  Storm windows - effective dead air barrier?_________________________________________________ 

(6)  Condition (framing, sills, etc.)____________________________________________________________

(7)  Latches securing properly_______________________________________________________________ 

(8)  Glazing - putty/cracked/broken/weatherstripping_____________________________________________

H.   Doors (Exterior)

(1)  Do all operate properly?___________If not, which?__________________________________________ 

(2)  Properly weather stripped__________If not, which?__________________________________________ 

(3)  Need for storm doors__________If so, which?______________________________________________

(4)  Material/Condition____________________________________________________________________ 

(5)  Paint or finish________________________________________________________________________ 

(6)  Latches securing properly_______________________________________________________________ 

(7)  Condition of jambs____________________________________________________________________ 

(8)  Glazing - putty/cracked/broken/weatherstripping_____________________________________________

I.   Shutters

(1)  Operation____________________________________________________________________________ 

(2)  Material/Condition____________________________________________________________________ 

J.   Screens  (doors, windows, crawl space vents)

(1)  Condition____________________________________________________________________________ 

(2)  Need for them________________________________________________________________________ 

K.,L. Carport/Garages

(1)  Hazardous storage/hazards______________________________________________________________ 

(2)  Type of floor, condition_________________________________________________________________ 

(3)  Structural damage_____________________________________________________________________ 

(4)  Door type & condition__________________________________________________________________

M.   Hardware (Refer to 9 A through C)

N.   Siding (Refer to 4 A)

O.  Puttying/Painting (Refer to 4. A through N. and 5. A through I)

2

General exterior maintenance requirements/notes (incl. presence of hazardous materials or safety issues) 

_______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

 5.A-I INTERIOR WOODWORK

A.,D.  Doors (Interior), including sliding

(1)  Do all operate properly?__________ If not, which?___________________________________________ 

(2)  Material/Condition____________________________________________________________________ 

B.   Sidelites

(1)  Operational__________________________________________________________________________ 

(2)  Material/Condition____________________________________________________________________

C.   Trim and Moulding

(1)  Material/Condition____________________________________________________________________

(2)  Finish_______________________________________________________________________________

E.,F.,G.,H.,I.  Closets, Cabinets

(1)  Operational__________________________________________________________________________

(2)  Finish/Material/Condition_______________________________________________________________ 

(3)  Latches working______________________________________________________________________ 

(4)  Doors hanging straight_________________________________________________________________ 

5.A-I BUILDING INTERIOR - GENERAL

(1)  Ceiling -Type of material_______________________________________________________________ Appearance_____________________________________________________________________________

Light reflectivity_________________________________________________________________________ 

Need for repainting_______________________________________________________________________

(2)  Walls  -Type of material________________________________________________________________ Appearance/condition_____________________________________________________________________ 

      Need for repainting____________________________________________________________________

 (3)  General - Number of rooms_____________________________________________________________

      Size of each(Length x Width x Height) OR DRAW SKETCH  ON BACK OF PAGE 9 - 

     THIS INFORMATION NOT REQUIRED IF PLANS ARE AVAILABLE:

Living Room____________________________________________________________________________ 

Dining Room____________________________________________________________________________

Bedroom(s)______________________________________________________________________________

Kitchen_________________________________________________________________________________ Bathroom(s)_____________________________________________________________________________ Storage_________________________________________________________________________________ Garage_________________________________________________________________________________ Office(s)________________________________________________________________________________

Others (identify)__________________________________________________________________________

3

6.  STAIRS

(1)  Condition______________________________________  Handrail height/dia_____________________ 

(2)  Height of risers___________  Depth of tread___________  Stairwell width_______________________ 

(3)  Hazards/tread material & condition_______________________________________________________ 

(4)  Construction materials_________________________________________________________________ 

(5)  Storage underneath properly utilized?_____________________________________________________ 

7.  FLOOR COVERING

(1)  Type of subfloor/underlayment__________________________________________________________ 

(2)  Type of finish floor or covering__________________________________________________________ 

(3)  Condition & soundness_________________________________________________________________ 

(4)  Estimated remaining life of finish or covering_______________________________________________ 

(5)  Base cove & molding condition__________________________________________________________

8.  ROOFING

(1)  Type of roofing_______________________________________________________________________ 

(2)  Condition____________________________________________________________________________ 

(3)  Age________________________________________________________________________________ 

(4)  Moss build-up (wood only)______________________________________________________________ 

(5)  Treatment need (wood only)_____________________________________________________________ 

(6)  Evidence of leakage____________________________________________________________________ 

(7)  Ice build-up (need for heat cables?)_______________________________________________________

(8)  Snow load capacity_____________________________(design)______________or (est.)____________ 

A.,B.,C.  Gutters, Downspouts, Draintile

(1)  Condition____________________________________________________________________________ 

(2)  Cleanliness___________________________________________________________________________ 

(3)  Operational__________________________________________________________________________ 

(4)  Is drainage directed away from building?___________________________________________________

D.   Shingles

(1)  Refer to Item 8, under roofing.

E., F.  Roof trusses, purlins, beams, joists, & ridgeboards

(1)  Adequate for snowload_________________________________________________________________ 

(2)  Condition/Damage_____________________________________________________________________ 

(3)  Truss/Beam material, span & spacing______________________________________________________ 

(4)  Purlin/Joist material, span, & spacing______________________________________________________

G.  Flashing

(1)  Condition/Existance___________________________________________________________________

(2)  Evidence of leakage____________________________________________________________________

H.  Attic and ventilation

(1)  Flooring/runner plank condition__________________________________________________________ 

(2)  Hazards_____________________________________________________________________________ 

(3)  Venting adequate _____________________________________________________________________ 

(4)  Evidence of moisture build-up___________________________________________________________

4

9.HARDWARE

A.  Windows - Refer to Item 4g. - Windows

B.  Doors - Refer to 4h. - Doors

C.  Bathroom - Refer to item 5e. - Cabinets/Closets

D.  Kitchen - Refer to Item 5e. - Cabinets/Closets

10.GLASS

A., B., C., D. (Refer to 4 G & 4 H)

11.PLUMBING/SEWER

A.WATER SERVICE - Within Building & to Meter (not distribution system)

(1)  General:  Service size___________in.  Type of pipe___________________________ Age:_______yrs., Condition:_______________________________________________________________________________ 

 (2) Kitchen:Sink________________________________  Faucets________________  Drain_____________

Shutoffs____________________________________  Strainer/Plug_________________________________ 

(3) Bathrooms:  Sink______________________________  Faucets________________  Drain____________ 

Shutoffs____________________________________  Strainer/Plug_________________________________

Toilet___________________________________  Seal_________________  Shutoffs__________________ Shower/Tub_________________________________  Faucets_______________   Head________________ Drain___________________________________  Strainer/Plug____________________________________ Other___________________________________________________________________________________

(4) Laundry:  Tub________________________________Faucet_______________ Drain_______________

Strainer/Plug_____________________  Washer Connections______________________________________ Other___________________________________________________________________________________

(5) Water Heater: Capacity____________________________, Temp. Setting_________________________ 

Pressure/Temp. Relief Valve______________________________  Plumbed to Near Floor_______________

Fuel__________________   Fuel supply/plumbing______________________________________________

(6)  Outside hydrants: Number____________, protected from freezing_______________________________ 

Is location or installation hazardous___________________________________________________________ Appearance______________________________________________________________________________

B.  SEWER - Within Building & to Cleanout (not collection/treatment system)

   Type (Septic tank, sewer, other)____________________________________________________________

Pipe Material____________________________________________________________________________

(1)  Properly plumbed_____________________________________________________________________

(2)  Are all drains vented within 5 feet?_______________________________________________________

(3)  General Condition_____________________________________________________________________

C. PLUMBING COMMENTS:  _____________________________________________________________ _______________________________________________________________________________________ 

5

12. TERMITE OR DECAY DAMAGE

 (1)  Refer to Items 1 a & c, 2 a & b.

13. FIREPLACE / WOOD HEAT STOVE

(1)  Condition - Fire box___________________________ Flue (Liner)______________________________ Chimney_________________________________ Hearth_________________________________________ 

(2)  Type________________________________________________________________________________ 

(3)  Cleanliness___________________________________________________________________________ 

(4)  Efficiency to heat______________________________________________________________________ 

(5)  Damper_____________________________________________________________________________ 

(6)  Heatilator__________________________________Insert_____________________________________ 

(7)  Glass doors__________________________________________________________________________ 

(8)  Screen______________________________________________________________________________

14.ACCESSORIES - If Government owned (ie: refrigerator, cook stove, microwave)

Item________________________________________________________________

Make_____________________________________ Model________________________________________ 

Year Purchased______________________  Size________________________________________________

Present Condition_________________________________________________________________________

Item________________________________________________________________

Make_____________________________________ Model________________________________________ 

Year Purchased______________________  Size________________________________________________

Present Condition_________________________________________________________________________

Item________________________________________________________________

Make_____________________________________ Model________________________________________ 

Year Purchased______________________  Size________________________________________________

Present Condition_________________________________________________________________________

Item________________________________________________________________

Make_____________________________________ Model________________________________________ 

Year Purchased______________________  Size________________________________________________

Present Condition_________________________________________________________________________

Item________________________________________________________________

Make_____________________________________ Model________________________________________ 

Year Purchased______________________  Size________________________________________________

Present Condition_________________________________________________________________________

6

15.ELECTRIC

A.  Wiring

(1) Condition____________________________________________________________________________  

(2)  Connection tight, outlets_________________________, switches_______________________________ 

(3)  Outlets grounded_______________________________, polarity________________________________

B.  Service & Circuit Controls/Breakers

(1)  Type________________________________________________________________________________ 

(2)  Conditon/Age________________________________________________________________________

(3)  GFCI's on bath, kitchen, work areas_______________________________________________________

C.  Other

(1)  All boxes covered_____________________________________________________________________ 

(2)  Electrical condition survey conducted_________________________________   Date_______________

16.HEATING & AIR CONDITIONING

A.  Primary Heating

(1)  Fuel type: ____Nat.gas   ____LPG   ____Oil    ____Wood   ____Coal   ____Electric

(2)  Method:  ___Individual Room/Area (type:_______________________________________________) 

 
__​_Radiators (__​_water  __​_steam)     __​__Central Forced Air

(3)  Unit capacity (BTU/hour) ___________, ___________, ___________, ____________, ____________

(4)  Is heating adequate?__________________________________________________________________

(5)  Year last maintained (needed annually)___________________________________________________ 

(6)  Cleanliness: register, chimney flues, furnace room - hazards___________________________________ 

(7)  Stack condition (pipe to chimney seal)_____________________________________________________ 

(8)  Filter - oil/air (condition)________________________________________________________________

B.  Auxilliary Heating

(1)  Fuel type/method______________________________________________________________________ 

(2)  Safety - insulation/vents/controls_________________________________________________________ 

(3)  Is heating adequate____________________________________________________________________ 

(5)  Condition___________________________________________________________________________

C.  Cooling

(1)  Type: ______Refrigeration ______Evaporative Cooler  

(2)  Capacity or size_______________________________       ______Central   _______Single Room/Area

(3)  Is cooling adequate____________________________________________________________________

(4)  Condition____________________________________________________________________________

17.SPACE HEATERS  (Refer to 16 B)

18.WATER HEATERS   (Refer to 11 A.5)

7

ADDITIONAL ITEMS

The following information may or may not pertain to the present structure that you are inspecting.  

Complete any pertinent items.

A.  DRAINAGE

(1)  Is structure adequately drained?__________ 

(2)  What drainage structures exist?___________________________________________________________ _______________________________________________________________________________________ 

(3)  What is needed?_______________________________________________________________________ _______________________________________________________________________________________ 

B.  SECURITY

(1)  Is building fenced?  ____ No  ____Front  ____Back  ____Complete  

(2)  Is fencing required?________Is fencing desired by occupant?__________________________________

(3)  Are gates operable?________ Lockable?___________________________________________________ 

(4)  Outside lighting: _______None _______Some _______Fully

(5)  Is lighting adequate?___________________________________________________________________ 

(6)  Any past security problems?_____________________________________________________________ _______________________________________________________________________________________

(7)  Is private and Government property adequately protected?_____________________________________

(8) Comments:___________________________________________________________________________ ________________________________________________________________________________________ ______________________________________________________________________________________

C.  ACCESS AND PARKING

(1)  Pedestrian access surface____________________________, width__________ft. grade____________% 

(2)  Is access adequate?____________________________________________________________________ 

(3)  Is structure on main roads?________ Should  it be on main roads?_______________________________

(4)  Parking for  ________________vehicles; surface mat'l.____________________, grade____________% 

Is parking adequate?_______________________________________________________________________ 

(5)  Condition of roads/parking:______________________________________________________________

D.  LANDSCAPING

(1)  Is building landscape plan available?_________.  Has it been used?______________________________

(2)  Is structure landscaped?_________________________________________________________________

(3)  Is landscaping adequate?________________________________________________________________ 

(4)  Is adequate water/hydrants available for landscaping?_________________________________________

(5)  Does building present an acceptable appearance?_____________________________________________ Suggestions_____________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

8

E.  LIQUID FUEL SYSTEM    

 (1) Fuel Type:  _____L.P. Gas  _____Natural Gas  _____Fuel Oil  _____Other:_______________________  

(2) Does Oil Tank meet U.M.C. Std. #5-1?_____________________________________________________

(3) Does L.P.G. Tank meet N.F.P.A. #58? _____________________________________________________

(4) Are supports adequate? _________________________________________________________________ 

(5) Condition/Use of Flex Connectors ________________________________________________________ 

(6) Are Barriers needed/adequate?____________________________________________________________ 

(7) Is Clearance adequate?__________________________________________________________________ 

(8) Do Pipe & fittings meet UPC 12XX?______________________________________________________ 

(9) Does Service cock meet UPC 12XX?______________________________________________________

F.    FIRE PROTECTION SYSTEM

(1) Brief description_______________________________________________________________________

_______________________________________________________________________________________

(2)  Smoke detectors installed per Code?____________  Operating?_________________________________

(3)  Date of last sprinkler system (if any) inspection______________________________________________

(4) Are exits and exit routes adequate & adequately identified?_____________________________________

(5)  Is there adequate clearance around the structure from fuels?____________________________________

(6) Is the structure fire resistant? __________   What could be done to improve fire resistance?  __________

_______________________________________________________________________________________

(7) Nearest fire hydrant____________________________________________________________________  

(8) Does location & spacing meets FSM requirements,  _____Yes  _____No.  

Comment:_______________________________________________________________________________

(9)  Adequate protection  _____Yes, _____No

     Condition: _____Excellent_____Good _____Fair _____Poor.  Comment_______________________________________________________________________________ _______________________________________________________________________________________ _______________________________________________________________________________________

I.  OTHER

(1)  Are the facilities adequate for their current use?______________________________________________ 

(2)  Is the facility effectively located in relationship to the overall site layout?  ________________________

_______________________________________________________________________________________

(3)  Do people living or working in this structure like it?__________________________________________

(4)  Occupant remarks concerning the maintenance condition of this building:

_______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

(5)Other comments about this structure (incl. presence of hazardous materials or safety issues):                 _______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

Use the reverse side of this sheet to sketch a measured drawing of the building, if there is not a set of plans on file.  Be sure to show all windows, doors, fixtures, heating, and appliances. 

 Attach photos of the building showing all four exterior sides (taking photos at opposite corners allows showing 2 sides in one photo) and any distinctive interior features or areas needing maintenance.

9

