                                                          Page 1 of 3

                         CONDITION SURVEY - ELECTRICAL
District _________   Building Name ______________   Bldg. # ________________

Site # ___________   Inspector(s) _______________   Date ___________________

Site Name _____________________

******************************************************************************

E1  Service                            Yes  No   Comment  H & S    Est.

                                                 Number  Hazard    Repair Cost

A.  Voltage_____  Size_____  Amps_____

B.  Service to building by Power Co.____ or FS___

    Power Co.  __________________________________

C.  Service overhead ______ or underground ______

D.  Meter no. ______   Separately

    metered                            ___  ___  ______  ______    ______

E.  Main switch has proper access      ___  ___  ______  ______    ______

F.  Main switch has raintight enclosure___  ___  ______  ______    ______

G.  Service is properly grounded       ___  ___  ______  ______    ______

H.  Other ______________________       ___  ___  ______  ______    ______

******************************************************************************

E2  Main Building Panel
A.  Number of circuits______  Make_____________________

                              Model No. _______________

B.  Main breaker (or fuse) size _______

C.  Fuses_____ or circuit breakers_____

    proper size, proper installation   ___  ___  ______  ______    ______

D.  Feeder size ______ Type _______

E.  All wiring properly sized, properly

    installed                          ___  ___  ______  ______    ______

F.  Neutral properly bonded to ground  ___  ___  ______  ______    ______

G.  Proper working clearance           ___  ___  ______  ______    ______

H.  Proper wire identification         ___  ___  ______  ______    ______

I.  Other ______________________       ___  ___  ______  ______    ______

******************************************************************************

                                                              Page 2 of 3

E3  Sub Panels                         Yes  No   Comment  H & S    Est.

                                                 Number  Hazard    Repair Cost

    No. of sub panels _________

A.  Number of circuits______  Make_______________________

                              Model No. _________________

B.  Main breaker (or fuse) size ______

C.  Fuses _____ or circuit breakers_____

    Proper size, proper installation   ___  ___  ______  ______    ______

D.  Feeder size ______  Type ________

E.  All wiring properly sized, properly

    installed                          ___  ___  ______  ______    ______

F.  Neutral properly bonded to ground  ___  ___  ______  ______    ______

G.  Proper working clearance           ___  ___  ______  ______    ______

H.  Proper wire idendification         ___  ___  ______  ______    ______

I.  Other _________________________    ___  ___  ______  ______    ______

******************************************************************************

E4  Circuit Wiring
A.  Wiring type ____________________             ______  ______    ______

B.  All wiring is correctly sized      ___  ___  ______  ______    ______

C.  All wiring is correctly installed  ___  ___  ______  ______    ______

D.  Polarity ok                        ___  ___  ______  ______    ______

E.  Ground continuity ok               ___  ___  ______  ______    ______

F.  Circuits adequate in size & number ___  ___  ______  ______    ______

G.  All wiring and taps in properly

    closed boxes                       ___  ___  ______  ______    ______

H.  All switches and receptacles have 

    proper cover plates                ___  ___  ______  ______    ______

I.  GFCI receptacles installed in

    bathrooms, garage, and outdoors    ___  ___  ______  ______    ______

J.  Seal-offs installed where required ___  ___  ______  ______    ______

K.  Other _________________________    ___  ___  ______  ______    ______

******************************************************************************

                                                                Page 3 of 3

E5  Lighting                           Yes  No   Comment  H & S    Est.

                                                 Number  Hazard    Repair Cost

A.  All installations are safe & proper___  ___  ______  ______    ______

B.  Diffusers or covers are all clean  ___  ___  ______  ______    ______

C.  Diffusers or covers are in good

    condition and not yellowed         ___  ___  ______  ______    ______

D.  Lighting level appropriate         ___  ___  ______  ______    ______

E.  Proper lamp sizes used             ___  ___  ______  ______    ______

F.  Other___________________________   ___  ___  ______  ______    ______

******************************************************************************

                         CONDITION SURVEY - ELECTRICAL

COMMENT  ITEM

NUMBER   NUMBER  COMMENT

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

