                                                              Page 1 of 8

                         CONDITION SURVEY - MECHANICAL
District _____________   Building Name  _____________    Bldg. # ____________

Site #   _____________   Inspector(s)   _____________    Date    ____________

Site Name _______________________

******************************************************************************

M1  Gas System                         Yes  No   Comment  H & S    Est.

                                                 Number   Hazard   Repair Cost

A.  Fuel Type:  LPG______   Nat. Gas _______

B.  LPG Tank supports ok               ___  ___  _______  ______   ______

C.  LPG Tank flex connector ok         ___  ___  _______  ______   ______

D.  LPG Tank barriers ok               ___  ___  _______  ______   ______

E.  LPG Tank clearance ok              ___  ___  _______  ______   ______

F.  LPG Tank clearing ok               ___  ___  _______  ______   ______

G.  LPG pressure regulator

    installed properly                 ___  ___  _______  ______   ______

H.  Gas piping materials and

    installation ok                    ___  ___  _______  ______   ______

I.  Gas piping properly coated

    to six inches above grade          ___  ___  _______  ______   ______

J.  No buried gas piping under building___  ___  _______  ______   ______

K.  Gas shutoff cock ok                ___  ___  _______  ______   ______

L.  Unused appliance line ends         ___  ___  _______  ______   ______

    capped

M.  Tank Condition ok                  ___  ___  _______  ______   ______

N.  Tank Specifications:

Mfg. By ___________________

Date Built ________________

Capacity __________________

Model Name & No. ________________________

Serial No. ______________________________

O.  Other ________________________     ___  ___  _______  ______   ______

******************************************************************************

                                                             Page 2 of 8

                                       Yes  No   Comment  H & S    Est.

                                                 Number   Hazard   Repair Cost

M2  Water Heater
    Electric _____   Gas _____  AGA Approved ___Yes ___No

    Make & Model # _________________________________

A.  Location__________ Capacity__________ Serial # ________________________

    Type _____________          BTUH Input ____________________

B.  Full way (gate) valve installed    ___  ___  _______  ______   ______

C.  Pressure and temperature valve

    and relief line properly installed ___  ___  _______  ______   ______

D.  Access and clearance ok            ___  ___  _______  ______   ______

E.  Vent and connector ok              ___  ___  _______  ______   ______

F.  Fuel supply and connector ok       ___  ___  _______  ______   ______

G.  Shut off Valve ok & accessible     ___  ___  _______  ______   ______

H.  Combustion air adequate            ___  ___  _______  ______   ______

I.  Temperature setting is proper      ___  ___  _______  ______   ______

J.  Sediment drained from tank         ___  ___  _______  ______   ______

K.  Water Heater blanket properly 

    installed                          ___  ___  _______  ______   ______

L.  Other ________________________     ___  ___  _______  ______   ______

******************************************************************************

M3  Air Conditioning Units
A.  Location_________  Type__________ AGA Approved ___Yes ___No

    Make & Model #___________________ Serial # __________________________

    Capacity (BTUH or Tons)__________

B.  Clearance and access ok            ___  ___  _______  ______   ______

C.  Coil clean                         ___  ___  _______  ______   ______

D.  Coolant line insulation ok         ___  ___  _______  ______   ______

E.  Other___________________________   ___  ___  _______  ______   ______

******************************************************************************

                                                             Page 3 of 8

                                       Yes  No   Comment  H & S    Est.

                                                 Number   Hazard   Repair Cost

M4  Heating Units
    Electric ______     Gas ______ AGA Approved ___Yes ___No

A.  Location ____________  Type ____________

    BTUH Input___________  BTUH Out ________

    Make & Model # _________________________ Serial # ___________________

B.  Fuel supply and connector ok       ___  ___  _______  ______   ______

C.  Shut off valve ok & accessible     ___  ___  _______  ______   ______

D.  Combustion air adequate            ___  ___  _______  ______   ______

E.  Return air ok                      ___  ___  _______  ______   ______

F.  Vent and connector ok              ___  ___  _______  ______   ______

G.  Clearance and access ok            ___  ___  _______  ______   ______

H.  Filters clean.  Size __________    ___  ___  _______  ______   ______

I.  Ducts in good repair, tight joints ___  ___  _______  ______   ______

J.  Setback thermostat installed,

    functioning properly, and set at

    correct temperatures.              ___  ___  _______  ______   ______

K.  Other ___________________________  ___  ___  _______  ______   ______

******************************************************************************

M5  Range
Electric _____ Gas _____ AGA Approved ___Yes ___No

                                                   Top Burners __________

    Make & Model#___________________   BTUH Input: Oven _________________

A.  Commercial______  Domestic_____  Serial # ___________________________

B.  Fuel supply and connector ok       ___  ___  _______  ______   ______

C.  Shut off valve ok & accessible     ___  ___  _______  ______   ______

D.  Burners correctly adjusted         ___  ___  _______  ______   ______

E.  Proper hood if commercial range    ___  ___  _______  ______   ______

F.  Other _________________________    ___  ___  _______  ______   ______

******************************************************************************

                                                              Page 4 of 8

                                       Yes  No   Comment  H & S    Est.

                                                 Number   Hazard   Repair Cost

M6  Dryer
Electric _____ Gas _____ AGA Approved ___Yes ___No

    Make & Model #______________________ Serial # _______________________

A.  Location _____________________    BTUH Input _______________

B.  Lint screen clean                  ___  ___  _______  ______   ______

C.  Exhaust vent properly installed

    with no obstructions               ___  ___  _______  ______   ______

D.  Fuel supply and connector ok       ___  ___  _______  ______   ______

E.  Other _________________________    ___  ___  _______  ______   ______

******************************************************************************

M7  Washer
A.  Location ___________________

B.  Make & Model #_______________________ Serial # ______________________

C.  No signs of leakage, working

    properly                           ___  ___  _______  ______   ______

D.  Properly vented                    ___  ___  _______  ______   ______

E.  Proper trap                        ___  ___  _______  ______   ______

******************************************************************************

M8  Woodstove
A.  Make or type __________ Airtight?  ___  ___  _______  ______   ______

B.  Model # _________________________

C.  Proper clearance from combustibles ___  ___  _______  ______   ______

    Sides______, Back_____, Front_____, Pipe/Stove to Combustibles_____

D.  Hearth extension adequate size and

    material                           ___  ___  _______  ______   ______

E.  Chimney type _______________       ___  ___  _______  ______   ______

F.  Chimney properly installed         ___  ___  _______  ______   ______

G.  Chimney properly cleaned           ___  ___  _______  ______   ______

H.  Other ______________________       ___  ___  _______  ______   ______

******************************************************************************

                                                              Page 5 of 8

                                       Yes  No   Comment  H & S    Est.

                                                 Number   Hazard   Repair Cost

M9  Fireplace
A.  Type _______________               ___  ___  _______  ______   ______

B.  Hearth extension proper size

    and material                       ___  ___  _______  ______   ______

   Hearth extension - front_______

C.  Bricks and mortar in good

    condition                          ___  ___  _______  ______   ______

D.  Damper functions properly          ___  ___  _______  ______   ______

E.  Chimney properly cleaned           ___  ___  _______  ______   ______

F.  Other _______________________      ___  ___  _______  ______   ______

******************************************************************************

M10 Refrigerator
Electric _____ Gas _____ AGA Approved ___Yes ___No

Number of Units _____________

A.  Make & Model #________________________ Serial # ______________________

B.  Location_____________________  Input BTUH ___________________

C.  Fuel Supply & connector ok         ___  ___  _______  ______   ______

D.  Shut off valve ok & accessible     ___  ___  _______  ______   ______

E.  Coils clean & unobstructed         ___  ___  _______  ______   ______

F.  Door seals properly                ___  ___  _______  ______   ______

G.  Properly defrosted                 ___  ___  _______  ______   ______

H.  Other___________________________   ___  ___  _______  ______   ______

******************************************************************************

M11  Waste and Vent System
    Waste                                   Vent

A.  Material:  C.I.________  G.S.P._______  Material: C.I._____  G.S.P. _____

    ABS/PVC  _________   Other __________          ABS/PVC ____  Other ______

B.  Proper pipe sizes and materials    ___  ___  _______  ______   ______

C.  Proper sweeps                      ___  ___  _______  ______   ______

D.  Proper vent terminations           ___  ___  _______  ______   ______

E.  Other___________________________   ___  ___  _______  ______   ______

******************************************************************************

                                                                Page 6 of 8

                                       Yes  No   Comment  H & S    Est.

                                                 Number   Hazard   Repair Cost

M12  Water System
A.  Material: GSP____ CU____ PVC____

    Other ______________________

B.  Building service gate valve installed

    and functioning properly           ___  ___  _______  ______   ______

C.  Flows and pressure acceptable      ___  ___  _______  ______   ______

D.  Free of excessive velocity noises

    and waterhammer                    ___  ___  _______  ______   ______

E.  No visible signs of system leaks   ___  ___  _______  ______   ______

F.  Other _______________________      ___  ___  _______  ______   ______

******************************************************************************

M13 Septic System
A.  Septic tank sludge and scum levels

    acceptable                         ___  ___  _______  ______   ______

B.  Leach field diverter values used   ___  ___  _______  ______   ______

C.  Other ________________________     ___  ___  _______  ______   ______

******************************************************************************

M14 Plumbing Fixtures      (X = Yes)  (O = No)
Plumbing      No. of    Installed  Proper   Proper   Proper    Comment    H&S  Fixtures      Units     Properly?  Trap?    Vent?    Backflow  Number   Hazard

                                                     Preventer

A. Toilet     ______    _________  ______   ______   _______   _______  ______

B. Urinal     ______    _________  ______   ______   _______   _______  ______

C. Lav. sink  ______    _________  ______   ______   _______   _______  ______

D. Tub        ______    _________  ______   ______   _______   _______  ______

E. Shower     ______    _________  ______   ______   _______   _______  ______

F. Kit. Sink  ______    _________  ______   ______   _______   _______  ______

G. Svc. Sink  ______    _________  ______   ______   _______   _______  ______

H. Floor Drain______    _________  ______   ______   _______   _______  ______

I. Drinking

   Fountain   ______    _________  ______   ______   _______   _______  ______

J. Wash Machine_____    _________  ______   ______   _______   _______  ______

                                                             Page 7 of 8

Plumbing      No. of    Installed  Proper   Proper   Proper    Comment    H&S  Fixtures      Units     Properly?  Trap?    Vent?    Backflow  Number   Hazard

                                                     Preventer

K. Dishwasher ______    _________  ______   ______   _______   _______  ______

L. Sprinkler

   System     ______    _________  ______   ______   _______   _______  ______

M. Other      ______    _________  ______   ______   _______   _______  ______

******************************************************************************

M15 Other Equipment
1A. Type of Equipment_______________   Yes  No   Comment  H & S    Est.

                                                 Number  Hazard    Repair Cost

    Location__________   BTUH Input __________

    Make & Model#___________________   Serial No. _______________________

1B. Installed properly?                ___  ___  ______  ______    ______

1C. Operating properly?                ___  ___  ______  ______    ______

1D. Properly maintained                ___  ___  ______  ______    ______

1E. Other___________________________   ___  ___  ______  ______    ______

______________________________________________________________________________

******************************************************************************

2A. Type of Equipment_______________

    Location__________   BTUH Input __________

    Make & Model#___________________   Serial No. _______________________

2B. Installed properly?                ___  ___  ______  ______    ______

2C. Operating properly?                ___  ___  ______  ______    ______

2D. Properly maintained                ___  ___  ______  ______    ______

2E. Other___________________________   ___  ___  ______  ______    ______

______________________________________________________________________________

******************************************************************************

3A. Type of Equipment_______________

    Location__________   BTUH Input __________

    Make & Model#___________________   Serial No. _______________________

3B. Installed properly?                ___  ___  ______  ______    ______

3C. Operating properly?                ___  ___  ______  ______    ______

3D. Properly maintained                ___  ___  ______  ______    ______

3E. Other___________________________   ___  ___  ______  ______    ______

******************************************************************************

                                                            Page 8 of 8

                         CONDITION SURVEY - MECHANICAL
COMMENT  ITEM

NUMBER   NUMBER  COMMENT

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

______   ______  _____________________________________________________________

