## fac_divest
Description | Mntc. | Year | Years | Bldg. | Min. Suitability | Accessibility | Miles to Main | Miles | $'s to bring | Standard | Standard | Liability | Liability | Potential | Potential | Rating | Recommendation | Site Notes | Three Year
Discription | Mtnc | Year | Years | Bldg | Min Suitability | Accessibility | miles to main | Miles | $'s to bring | Standard | Standard | Liability | Liability | Potential | Potential | Rating | Recommendation | Site Notes | Three year
| Level | Const. | Old | Condition | Standards |  | Office | Score | to Standard | Score | Remarks | As Is | Remarks | revenue days | Revenue |  |  |  | Implementation
[11 empty] | See Detailed Fac. Mntc. List | Score |  | Generated (REC) | Score (REC) |  |  |  | Schedule
District - 8th & Fir
#04091210 - Residence | 30 | 1935 | 61 | 20 | -20 | 0 | 5 | 0.16667 | 47000 | -15.6667 | Access, bathrooms, bedrooms, LP | -3 | Temp Users | 0 | 0 | -49.5 | Dispose & provide by other means | Idea - provide one workshop in Elko to replace | 1998 Land Exchange
#04091302-Warehouse | 10 | 1937 | 59 | 20 | 0 | 0 | 5 | 0.16667 | 23000 | -7.6667 | LP, Access | -3 | Cluttered | 0 | 0 | -47.5 | Dispose & provide by other means | Lamoille & existing. Provide no quarters. | 1998 Land Exchange
#04091347-Storage | 10 | 1930 | 66 | 10 | 0 | 0 | 5 | 0.16667 | 8000 | -2.6667 | LP, Access | -3 | Cluttered | 0 | 0 | -51.5 | Dispose & provide by other means | Open market has rentals although expensive. | 1998 Land Exchange
#04091348-Tire storage | 10 | 1938 | 58 | 10 | 0 | 0 | 5 | 0.16667 | 7000 | -2.3333 | LP | -3 | Cluttered | 0 | 0 | -43.1667 | Dispose & provide by other means | Valuable piece of property for exchange. | 1998 Land Exchange
#04091349-shop | 20 | 1932 | 64 | 20 | 0 | 0 | 5 | 0.16667 | 7000 | -2.3333 | Exhaust system & tool holders, LP | -5 | OSHA Needs | 0 | 0 | -31.1667 | Dispose & provide by other means | Poor location - next to schools - | 1998 Land Exchange
#04091351-Carpentry Shop | 20 | 1937 | 59 | 20 | 0 | 0 | 5 | 0.16667 | 19000 | -6.3333 | Exhaust system & tool holders,lp | -5 | OSHA Needs | 0 | 0 | -30.1667 | Dispose | Liabilities are very high | 1998 Land Exchange
Total $'s needed to Standard | [8 empty] | 111000
Mtn City - New Compound
#04091112-Residence | 10 | 1958 | 38 | 20 | 0 | 20 | 5 | 0.16667 | 58000 | -19.3333 | flooring, LP, Access, Bthrm | -3 | Temp Users | 0 | 0 | -10.1667 | Surplus |  | Surplus Modular - 1997
#04091151-Residence | 40 | 1974 | 22 | 30 | 0 | 20 | 5 | 0.16667 | 32000 | -10.6667 | LP, Access | -3 | Temp Users | 0 | 0 | 54.5 | Maintain | Close entire compound. Move all to town | Move to Mtn City 1997
#04091152-Residence | 40 | 1977 | 19 | 30 | 0 | 20 | 5 | 0.16667 | 25000 | -8.3333 | LP, Access, Flooring | -3 | Temp Users | 0 | 0 | 59.8333 | Maintain | and/or move majority to Elko and keep only | Move to Mtn City 1997
#04091154-Barracks | 30 | 1982 | 14 | 20 | 0 | 20 | 5 | 0.16667 | 44000 | -14.6667 | Flooring, access | -3 | Temp Users | 0 | 0 | 38.5 | Maintain | minimal facilities at this location. | Move to MTn City (New Office?) 1997
#04091155-Duplex North | 40 | 1984 | 12 | 30 | 0 | 20 | 5 | 0.16667 | 29000 | -9.6667 | Access, LP | -3 | Temp Users | 0 | 0 | 65.5 | Maintain |  | Move To Mtn City 1997
#04091159-Residence | 10 | 1972 | 24 | 10 | 0 | 0 | 5 | 0.16667 | 15000 | -5 | Access, flooring, Bthrm | -3 | Temp Users | 0 | 0 | -11.8333 | Surplus |  | Surplus - Removed from site
#04091161-residence | 40 | 1989 | 7 | 30 | 0 | 20 | 5 | 0.16667 | 16000 | -5.3333 | access, flooring | -3 | Temp Users | 0 | 0 | 74.8333 | Maintain |  | Move to Mtn City1997
#04091162-Residence | 40 | 1989 | 7 | 30 | 0 | 20 | 5 | 0.16667 | 5000 | -1.6667 | Access | -3 | Temp Users | 0 | 0 | 78.5 | Sent To Ely |  | Moved to Ely (Project Complete)1996
#04091163-residence | 40 | 1990 | 6 | 30 | 0 | 20 | 5 | 0.16667 | 16000 | -5.3333 | Access, flooring | -3 | Temp Users | 0 | 0 | 75.8333 | Move to Ely |  | Moved to Ely (Project complete) 1996
#04091164-Residence | 40 | 1992 | 4 | 30 | 0 | 0 | 5 | 0.16667 | 5000 | -1.6667 | Access | -3 | Temp Users | 0 | 0 | 61.5 | Maintain |  | Move to Mtn City (Barracks?)1996
#04091166-Residence | 10 | 1966 | 30 | 10 | 0 | 0 | 5 | 0.16667 | 10000 | -3.3333 | Access, structural | -3 | Temp Users | 0 | 0 | -16.1667 | Already Surplused |  | Surplus in FY1997
#04091176-Duplex South | 40 | 1984 | 12 | 30 | 0 | 20 | 5 | 0.16667 | 24000 | -8 | Access, LP | -3 | Temp Users | 0 | 0 | 67.1667 | Maintain |  | Move to Mtn City 1997
#04091310-Barn | 10 | 1936 | 60 | 10 | 0 | 0 | 5 | 0.16667 | 5000 | -1.6667 | structural, Not worth $5k | -3 | Temp Users | 0 | 0 | -44.5 | Remove & Replace |  | Dispose 1999
#04091377-pumphouse | 10 | 1977 | 19 | 10 | 0 | 0 | 5 | 0.16667 | 8000 | -2.6667 | structural | -5 | Does not meet State Requirements | 0 | 0 | -6.5 | Dispose |  | Dispose 1998 Accordance W/State Standards
#04091378-pumphouse | 30 | 1990 | 6 | 30 | 0 | 0 | 5 | 0.16667 | 0 | 0 |  | 0 |  | 0 | 0 | 54.1667 | Maintain |  | Abandon Well 1998 Accordance State Standards
#04091378-garage | 30 | 1992 | 4 | 30 | 0 | 0 | 5 | 0.16667 | 0 | 0 |  | 0 |  | 0 | 0 | 56.1667 | Maintain |  | Move to MTn City 1997
#04091380-garage | 30 | 1991 | 5 | 30 | 0 | 0 | 5 | 0.16667 | 0 | 0 |  | 0 |  | 0 | 0 | 55.1667 | Maintain |  | Move to MTn City 1997
#04091381-Garage | 30 | 1991 | 5 | 30 | 0 | 0 | 5 | 0.16667 | 0 | 0 |  | 0 |  | 0 | 0 | 55.1667 | Maintain |  | Move to Mtn City 1997
Mtn City - Old Compound | [9 empty] | 0
#04091115-Residence | 10 | 1910 | 86 | 0 | -40 | 0 | 5 | 0.16667 | 40000 | -13.3333 | LP, Access, Plmbng, Flooring-ALL | -5 | Bldg. Condemned | 0 | 0 | -134.1667 | Dispose | Close entire compound . Provide storage | Dispose 1998
#04091306-Garage | 10 | 1936 | 60 | 20 | 0 | 0 | 5 | 0.16667 | 7000 | -2.3333 | LP, Elect. | 0 |  | 0 | 0 | -32.1667 | Dispose | and work area at town location | Dispose 1998
#04091308-Storage | 10 | 1936 | 60 | 20 | 0 | 0 | 5 | 0.16667 | 28000 | -9.3333 | LP, Exhaust System | -3 | OSHA Needs | 0 | 0 | -42.1667 | Dispose & provide by other means |  | Dispose 1998
#04091309-Storage | 10 | 1936 | 60 | 20 | 0 | 0 | 5 | 0.16667 | 7000 | -2.3333 | LP, Structural | 0 |  | 0 | 0 | -32.1667 | Dispose |  | Dispose 1998
#04091362-Barn/Tackshed | 10 | 1980 | 16 | 20 | 0 | 0 | 5 | 0.16667 | 6000 | -2 | LP, Access | -5 | Possible Hanta Virus | 0 | 0 | 7.1667 | Dispose & provide by other means |  | Dispose 1997
#04091364-Cellar | 10 | 1935 | 61 | 10 | 0 | 0 | 5 | 0.16667 | 1000 | -0.33333 | Elect. | -5 | paint/Gasoline Storage, OSHA | 0 | 0 | -46.1667 | Dispose |  | Dispose 1998
#04091366-Fire Cache | 10 | 1978 | 18 | 20 | 0 | 0 | 5 | 0.16667 | 7000 | -2.3333 | Elect., Structural | -3 | Temp Users | 0 | 0 | 6.8333 | Dispose & provide by other means |  | Dispose 1998
#04091367-Pumphouse | 10 | 1936 | 60 | 20 | 0 | 0 | 5 | 0.16667 | 7000 | -2.3333 | LP, Elect. | -5 | Elect/flooding problems | 0 | 0 | -37.1667 | Dispose |  | Dispose 1998
Mtn City - Gold Creek GS
#04091103-Bunkhouse | 10 | 1938 | 58 | 0 | -20 | 0 | 28 | 0.93333 | 40000 | -13.3333 | ALL | -5 | SUP NDF | 0 | 0 | -85.4 | Dispose | On National Register of Historic Places | Dispose 1999 (NDF OWnership)
#04091104-Bunkhouse | 10 | 1953 | 43 | 10 | -20 | 0 | 28 | 0.93333 | 40000 | -13.3333 | ALL | -5 | SUP NDF | 0 | 0 | -60.4 | Dispose | Liability high for FS due to SU permit. Water | Dispose 1999 (NDF Ownership)
#04091118-Dwelling | 30 | 1910 | 86 | 20 | -20 | 20 | 28 | 0.93333 | 40000 | -13.3333 | ALL | -5 | SUP NDF | 0 | 0 | -53.4 | Dispose | system and utilities are still in our name. | Dispose 1999 (NDF OWnership)
#04091202-Garage/Office | 10 | 1933 | 63 | 20 | 0 | 0 | 28 | 0.93333 | 40000 | -13.3333 | ALL | -5 | SUP NDF | 0 | 0 | -50.4 | Dispose | Very high costs to restore the site. | Dispose 1999 (NDF Ownership)
#04091312-Barn | 10 | 1934 | 62 | 0 | 0 | 0 | 28 | 0.93333 | 40000 | -13.3333 | ALL | -5 | SUP NDF | 0 | 0 | -69.4 | Dispose | Suggest doing photo interpretation & dispose. | Dispose 1999 (NDF OWnership)
#04091313-Gas House/Storage | 10 | 1938 | 58 | 20 | 0 | 0 | 28 | 0.93333 | 40000 | -13.3333 | ALL | -5 | SUP NDF | 0 | 0 | -45.4 | Dispose | Coop W/Wildhorse State Park for Fire Station? | Dispose 1999 (NDF Ownership)
#04091314-Cellar | 10 | 1935 | 61 | 10 | 0 | 0 | 28 | 0.93333 | 40000 | -13.3333 | ALL | -5 | SUP NDF | 0 | 0 | -58.4 | Dispose |  | Dispose 1999 (NDF Ownership)
#04091358-Cabin/Storage | 20 | 1930 | 66 | 20 | 0 | 0 | 28 | 0.93333 | 40000 | -13.3333 | ALL | -5 | SUP NDF | 0 | 0 | -43.4 | Dispose |  | Dispose 1999 (NDF Ownership)
#04091501-generator Bldg | 10 | 1950 | 46 | 10 | 0 | 0 | 28 | 0.93333 | 40000 | -13.3333 | ALL | -5 | SUP NDF | 0 | 0 | -43.4 | Dispose |  | Dispose 1999 (NDF Ownership)
76 Creek
#04091119-Cabin | 20 | 1935 | 61 | 20 | -20 | 0 | 70 | 2.3333 | 10000 | -3.3333 | LP, Access | -5 | Cabin Rental | 150 | 1.5 | -45.5 | Disposal | Costs for porta toilet. Must bring upto | Dispose 1998
codes prior to renting out. Liability high without
Merrit Mtn | [17 empty] | doing this.
#04091628-Communications Bldg | 20 | 1957 | 39 | 10 | 0 | 0 | 12 | 0.4 | 5000 | -1.6667 | Structural | -5 | Bldg. Could collapse on Radio | 0 | 0 | -15.2667 | Dispose & Replace |  | Replace Bldg 1997 - Building purchased 1996
Total $'s needed to Standard | [8 empty] | 770000 | [8 empty] | For all radio sites - As long as FS uses own
radio system, sites must be maintained for H&S
Ruby Mtns R.D. | [17 empty] | communication needs.
Harrison Pass -
#04091123-Dwelling | 10 | 1957 | 39 | 0 | -40 | 0 | 79 | 2.6333 | 30000 | -10 | ALL, Bldg Not Worth $30K | -5 | Public can enter, Hanta Virus | 150 | 1.5 | -79.8667 | Dispose | Hay storage seasonal - Cover W/tarp! | Dispose 1997
#04091320-Storage | 10 | 1957 | 39 | 0 | -40 | 0 | 79 | 2.6333 | 20000 | -6.6667 | ALL, Bldg. Not worth $20K | -5 | Public can enter, Hanta Virus | 0 | 0 | -78.0333 | Dispose |  | Dispose 1997
Lamoille GS
#04091101-Dwelling | 20 | 1933 | 63 | 20 | -20 | 20 | 48 | 1.6 | 35000 | -11.6667 | LP, Access, Heat, H&S | -3 | Temp Users | 180 | 1.8 | -34.2667 | Dispose | See notes for Elko Site. Valuable piece of | 1998 Land Exchange
#04091136-Main St. Home | 20 | 1960 | 36 | 10 | -20 | 20 | 48 | 1.6 | 56000 | -18.6667 | ALL - See List | -5 | Rundown & Vacant | 180 | 1.8 | -26.2667 | Dispose | property for exchange to aquire Forest | 1998 Land Exchange
#04091143-APW Bunkhouse | 20 | 1957 | 39 | 20 | -20 | 20 | 48 | 1.6 | 19000 | -6.3333 | Access, H&S | -3 | Temp Users | 180 | 1.8 | -4.9333 | Dispose & determine Long term needs | priority needs. | 1998 Land Exchange
#04091203-office/dwelling | 20 | 1935 | 61 | 20 | -20 | 20 | 48 | 1.6 | 16000 | -5.3333 | LP, Kitchen | -3 | Temp Users | 0 | 0 | -27.7333 | Dispose |  | 1998 Land Exchange
#04091301-Garage | 20 | 1935 | 61 | 20 | 0 | 20 | 48 | 1.6 | 15000 | -5 | LP, Structural | -5 | OSHA, Wood Stove | 0 | 0 | -9.4 | Dispose & provide by other means |  | 1998 Land Exchange
#04091303-Woodshed | 20 | 1936 | 60 | 20 | 0 | 20 | 48 | 1.6 | 6000 | -2 | See Detailed List | -3 | Hanta Virus | 0 | 0 | -3.4 | Dispose |  | 1998 Land Exchange
#04091321-Barn | 20 | 1936 | 60 | 20 | 0 | 20 | 48 | 1.6 | 13000 | -4.3333 | LP, Structural | -3 | Hanta Virus | 0 | 0 | -5.7333 | Dispose & provide by other means |  | 1998 Land Exchange
#04091322-Sawhouse | 20 | 1936 | 60 | 20 | 0 | 20 | 48 | 1.6 | 8000 | -2.6667 | LP, Elect. | -5 | OSHA | 0 | 0 | -6.0667 | Dispose |  | 1998 Land Exchange
#04091323-Pumphouse | 20 | 1936 | 60 | 20 | 0 | 20 | 48 | 1.6 | 23000 | -7.6667 | LP, Elect. | -5 | OSHA - Chemical Storage/Well? | 0 | 0 | -11.0667 | Dispose |  | 1998 Land Exchange
Ruby GS | [17 empty] | Constuct corrals & Shelter
#04091139-Dwelling | 20 | 1936 | 60 | 20 | 0 | 0 | 47 | 1.5667 | 12000 | -4 | LP, Septic, Structural | -3 | Temp Users | 150 | 1.5 | -23.9333 | Dispose | Cost to restore will far exceed value | Dispose 1998
#04091324-Barn | 20 | 1915 | 81 | 10 | 0 | 0 | 47 | 1.5667 | 7000 | -2.3333 | LP, Structural | -3 | Hanta Virus | 0 | 0 | -54.7667 | Dispose | and ability to generate income. Site is | Dispose 1998
#04091325-pumphouse | 10 | 1950 | 46 | 10 | 0 | 0 | 47 | 1.5667 | 2500 | -0.83333 | Structural | -5 | Spring Tested Bad in past | 0 | 0 | -30.2667 | Dispose | built in a riparian zone. Leach field in | Dispose 1998
#04091326-cellar | 10 | 1950 | 46 | 0 | 0 | 0 | 47 | 1.5667 | 1500 | -0.5 | Structural | -3 | Falling in | 0 | 0 | -37.9333 | Dispose | this zone. Volunteers are the only persons | Dispose 1998
to utilize this site in recent years.
Wells, Nv.
#04091137-Residence | 30 | 1960 | 36 | 30 | 0 | 20 | 1 | 0.033333 | 31000 | -10.3333 | Asbestos Siding, See detailed list | -3 | Temp Users | 0 | 0 | 30.7 | Dispose & provide by other means. | IF quarters are needed, determine proper | Dispose 1997
#04091213-Office | 40 | 1989 | 7 | 40 | 0 | 20 | 0 | 0 | 18000 | -6 | See Detailed List | -3 | Temp Users | 0 | 0 | 84 | Maintain | location for long term managment of
#04091352-Shop | 30 | 1960 | 36 | 20 | 0 | 0 | 0 | 0 | 9000 | -3 | LP, Elect | -5 | OSHA, Wood Stove | 0 | 0 | 6 | Maintain | Forest (ie..Elko, Lamoille, Wells).
#04091357-Paint Storage | 30 | 1980 | 16 | 20 | 0 | 0 | 0 | 0 | 7700 | -2.5667 | LP, Elect. | -5 | OSHA | 0 | 0 | 26.4333 | Maintain
#04091372-Garage | 30 | 1960 | 36 | 20 | 0 | 0 | 0 | 0 | 7000 | -2.3333 | Asbestos Siding | -3 | Temp Users | 0 | 0 | 8.6667 | Dispose |  | Dispose 1997
#04091373-Tack Shed | 30 | 1989 | 7 | 20 | 0 | 0 | 0 | 0 | 9000 | -3 | See Detailed List | 0 |  | 0 | 0 | 40 | Maintain
#04091376-Pesticide Strg | 30 | 1991 | 5 | 40 | 0 | 0 | 0 | 0 | 1000 | -0.33333 | See Detailed List | -5 | STorage of Herbicides/MSDS | 0 | 0 | 59.6667 | Maintain
Johns Hill Comm. Site
#04091632-Comm. Bldg | 30 | 1971 | 25 | 20 | 0 | 0 | 120 | 4 | 5000 | -1.6667 | Needs Repairs | -5 | OSHA | 0 | 0 | 22.3333 | Maintain | See Merritt Mtn. | T-Comm Plan 1997 (Right location?)
Total $'s to Standard | [8 empty] | 351700
Jarbidge R.D.
Pole Creek Admin Site
#04091120-Residence | 20 | 1933 | 63 | 20 | 0 | 0 | 91 | 3.0333 | 34000 | -11.3333 | LP, Elect. | -3 | Temp Users | 0 | 0 | -34.3 | Dispose & Replace &/or Hvy Mntc. | Consolidate site. Remove Bldgs. which are
#04091121-Bunkhouse | 30 | 1933 | 63 | 20 | 0 | 0 | 91 | 3.0333 | 42000 | -14 | LP, Elect. | -3 | Temp Users | 0 | 0 | -26.9667 | Dispose & Replace &/or Hvy Mntc. | not essential to accomplish the mission. Install
#04091168-Storage | 20 | 1970 | 26 | 20 | 0 | 0 | 91 | 3.0333 | 10000 | -3.3333 | ALL, Not worth 10K | -3 | Temp Users | 0 | 0 | 10.7 | Dispose | power to adequately serve the site. By | Dispose 1997
#04091174-Office | 30 | 1933 | 63 | 20 | 0 | 0 | 91 | 3.0333 | 36000 | -12 | LP, Elect. | -3 | Temp Users | 0 | 0 | -24.9667 | Dispose & Replace &/or Hvy Mntc. | consolidating site Electrical upgrade can be
#04091318-Fire Cache | 30 | 1933 | 63 | 20 | 0 | 0 | 91 | 3.0333 | 7000 | -2.3333 | LP, Elect. | -3 | Temp Users | 0 | 0 | -15.3 | Maintain | accomplished more economically.
#04091319-Gas House | 20 | 1933 | 63 | 20 | 0 | 0 | 91 | 3.0333 | 13000 | -4.3333 | LP, Elect. | -5 | OSHA | 0 | 0 | -29.3 | Dispose & Replace
#04091355-Tool Shed | 10 | 1968 | 28 | 10 | 0 | 0 | 91 | 3.0333 | 10000 | -3.3333 | All, Not Worth 10K | -5 | OSHA | 0 | 0 | -13.3 | Maintain
#04091359-Generator Bldg. | 20 | 1923 | 73 | 20 | 0 | 0 | 91 | 3.0333 | 21000 | -7 | LP, Elect. | -5 | OSHA | 0 | 0 | -41.9667 | Dispose & Replace
#04091361-Tack/Hay Shed | 30 | 1978 | 18 | 30 | 0 | 0 | 91 | 3.0333 | 1000 | -0.33333 | Elect. |  |  | 0 | 0 | 44.7 | Maintain
#04091368-Shop/warehouse | 20 | 1960 | 36 | 20 | 0 | 0 | 91 | 3.0333 | 21000 | -7 | LP, Elect. | -5 | OSHA | 0 | 0 | -4.9667 | Maintain
Mahoney G.S.
#04091108-Dwelling | 20 | 1926 | 70 | 20 | -20 | 0 | 94 | 3.1333 | 35000 | -11.6667 | Structural, See Detailed List | -5 | Minimum Suitabiliy Standards/Water | 150 | 1.5 | -62.0333 | Disposal/commercial fac. available | Commercial facilities are available in immediate | Dispose 1999
#04091207-Office | 20 | 1890 | 106 | 20 | 0 | 0 | 94 | 3.1333 | 9000 | -3 | LP, Elect. | -3 | Temp Users | 0 | 0 | -68.8667 | Disposal/commercial fac. available | vicinity. Potable water does not meet state | Dispose 1999
#04091317-Barn | 10 | 1918 | 78 | 10 | 0 | 0 | 94 | 3.1333 | 18000 | -6 | LP, Structural | -5 | Hanta Virus Trap | 0 | 0 | -65.8667 | Disposal/commercial fac. available | standards. Can rent trailer pads on seasonal | Dispose 1999
#04091354-Storage | 10 | 1961 | 35 | 10 | 0 | 0 | 94 | 3.1333 | 5000 | -1.6667 | LP, H&S | -5 | H&S Violations | 0 | 0 | -18.5333 | Disposal/commercial fac. available | basis or motel rooms as needed. | Dispose 1999
Possibly Construct Trailer Pad
Wildcat Admin Site | [14 empty] | 0
#04091138-Cabin | 10 | 1960 | 36 | 0 | -40 | 0 | 128 | 4.2667 | 40000 | -13.3333 | ALL, Not worth $'s to Fix | -5 | Dilapidated | 0 | 0 | -80.0667 | Disposal | Site recieves very little use. Revenue | Dispose 1997
#04091167-Cabin | 20 | 1988 | 8 | 20 | -20 | 0 | 128 | 4.2667 | 10000 | -3.3333 | Structural Cosmetics | -5 | Cabin Rental | 150 | 1.5 | 9.4333 | Remove & place at new site | generated by cabin rental is minimal. | Move to Pole Crk Sta. 1998
Toilets are pit type which are not
Jarbidge Peak Comm. Site | [17 empty] | in compliance with state laws. Liability High!!!
#04091625-Comm. Bldg | 10 | 1965 | 31 | 10 | 0 | 0 | 106 | 3.5333 | 20000 | -6.6667 | Cost for new Bldg installed | 0 | Removed from site | 0 | 0 | -14.1333 | Disposed Of |  | Removed 1996 - Replace Structure new location?
Total $'s to Standard | [8 empty] | 332000
Ely R.D.
Ely Adminstration Site
#04091201-Office | 40 | 1937 | 59 | 20 | 0 | 0 | 0 | 0 | 32000 | -10.6667 | Access, bathrooms (2 Ea) | -3 | Stairs & Bthrm not to standard | 0 | 0 | -12.6667 | Maintain | Must maintain site until new office is constructed
#04091212-Range Office | 40 | 1937 | 59 | 20 | 0 | 0 | 0 | 0 | 44000 | -14.6667 | Access, bathrooms (2 Ea) | -3 | Stairs & bthrm & Egress | 0 | 0 | -16.6667 | Maintain | Property is valuable due to its location. Possible | Convert to dwelling 1997
#04091341-Flammable Strg. Bldg | 30 | 1937 | 59 | 20 | 0 | 0 | 0 | 0 | 13000 | -4.3333 | Exhaust System, LP | -3 | exhaust system | 0 | 0 | -16.3333 | Maintain | trading stock for future and possible to
#04091342-Shop/Wrhse (NDF) | 30 | 1938 | 58 | 20 | 0 | 20 | 0 | 0 | 14000 | -4.6667 | Exhaust System, Bathroom, Access | -3 | OSHA | 0 | 0 | 4.3333 | Maintain | use in partnership arrangement for new office
#04091343-Shop/Wrhse | 30 | 1939 | 57 | 20 | 0 | 20 | 0 | 0 | 19000 | -6.3333 | Exhaust System, Bathroom, Access | -3 | OSHA | 0 | 0 | 3.6667 | Maintain | Complex with other interested groups.
#04091374-storage shed | 10 | 1935 | 61 | 0 | 0 | 0 | 0 | 0 | 5000 | -1.6667 | dilapidated!, Not worth $5k | -5 | dilapidated | 0 | 0 | -57.6667 | Disposal |  | Dispose 1997
Cherry Creek GS | [7 empty] | 0 |  | 0 | [7 empty] | Need Gasoline Storage Facility at Site
#04091133-Cabin | 20 | 1935 | 61 | 20 | -40 | 0 | 105 | 3.5 | 13000 | -4.3333 | Access, Pit Toilet, Asbestos? | 0 | Used as Storage only | 0 | 0 | -61.8333 | Disposal | Maintain only essential facilities for | Dispose 1999
#04091169-trailer | 20 | 1970 | 26 | 20 | -20 | 0 | 105 | 3.5 | 15000 | -5 | Access, Leachfield | -3 | FIre Alarms needed | 0 | 0 | -10.5 | Maintain | occassional Dist. use. Suggest maintaining one | Dispose 1997
#04091170-trailer | 20 | 1970 | 26 | 20 | -20 | 0 | 105 | 3.5 | 15000 | -5 | Access, Leach field | -3 | fire alarms needed | 0 | 0 | -10.5 | Maintain | sleeping/cooking facility. Dist. Employees | Maintain
#04091171-storage bldg. | 20 | 1970 | 26 | 0 | 0 | 0 | 105 | 3.5 | 5000 | -1.6667 | Bldg. Not worth $5K | -5 | Roof caved in | 0 | 0 | -9.1667 | Disposal | have stated they prefer to sleep outside vs | Dispose 1997
#04091172-Storage Shed | 10 | 1970 | 26 | 0 | 0 | 0 | 105 | 3.5 | 1000 | -0.33333 | Bldg. not worth 5K | 0 | Poor condition | 0 | 0 | -12.8333 | Disposal | inside due to rodent problems. | Dispose 1997
Ellison GS
#04091134-Dwelling | 30 | 1938 | 58 | 20 | 0 | 0 | 33 | 1.1 | 14000 | -4.6667 | Access, LP, Struct. | -3 | FIre alarms | 0 | 0 | -14.5667 | Disposal | Site is only located 30 miles from town. | Dispose 1999
#04091344-cellar | 10 | 1935 | 61 | 10 | 0 | 0 | 33 | 1.1 | 3000 | -1 | Bldg Not worth $3K | 0 |  | 0 | 0 | -40.9 | Disposal | Site is periodically used for temp. employees | Dispose 1999
#04091345-bunkhouse | 30 | 1938 | 58 | 20 | -20 | 0 | 33 | 1.1 | 11000 | -3.6667 | Bathroom, Access, LP | -3 | temp users | 0 | 0 | -33.5667 | Disposal | Training sessions occasionally held at the site. | Dispose 1999
#04091369-Barn | 20 | 1936 | 60 | 10 | 0 | 0 | 33 | 1.1 | 5000 | -1.6667 | LP, Structural | 0 | Hanta virus | 0 | 0 | -30.5667 | Disposal | If funding was available for temps, Station would | Dispose 1999
be utilized according to DR
Berry Crk GS
#04091131-Dwelling | 30 | 1933 | 63 | 20 | 0 | 0 | 32 | 1.0667 | 11500 | -3.8333 | Access, LP, Structural | -3 | Seasonal use/Fire Alarms | 0 | 0 | -18.7667 | Maintain | Work Center for heaviest used area on the Ely
#04091337-Barn | 20 | 1933 | 63 | 20 | 0 | 0 | 32 | 1.0667 | 8000 | -2.6667 | LP, See detailed list | 0 | Hanta virus | 0 | 0 | -24.6 | Maintain | Dist. Occassionally used for temp employees.
#04091338-Cellar | 20 | 1933 | 63 | 20 | 0 | 0 | 32 | 1.0667 | 500 | -0.16667 | Minor Work required | 0 |  | 0 | 0 | -22.1 | Maintain | Upgrade facilities to meet standards.
#04091339-garage | 10 | 1933 | 63 | 10 | 0 | 0 | 32 | 1.0667 | 5000 | -1.6667 | Bldg. Not worth 5K | -3 | falling objects, cleanliness | 0 | 0 | -46.6 | Dispose and Replace | Garage/Shop facility needed to work in
#04091370-pumphouse | 30 | 1984 | 12 | 30 | 0 | 0 | 32 | 1.0667 | 0 | 0 |  | 0 |  | 0 | 0 | 49.0667 | Maintain
Cottonwood GS
#04091142-cabin | 10 | 1964 | 32 | 10 | -40 | 0 | 115 | 3.8333 | 24000 | -8 | Bldg Not worth $5K | -3 | General public access | 0 | 0 | -59.1667 | Disposal | Not Used | Dispose 1997
California Springs Admin Site
#04091107-dwelling | 10 | 1958 | 38 | 0 | -40 | 0 | 42 | 1.4 | 5000 | -1.6667 | Bldg Not worth $5K | -3 | General public access | 0 | 0 | -71.2667 | Disposal | Not Used | Dispose 1997
Murphy Wash Admin Site
#04091105-Dwelling | 10 | 1958 | 38 | 10 | -40 | 0 | 92 | 3.0667 | 5000 | -1.6667 | Bldg Not worth $5K | -3 | General public access | 0 | 0 | -59.6 | Disposal | Not Used | Dispose 1997
Dog Springs Admin Site
#04091132-Dwelling | 10 | 1958 | 38 | 0 | -40 | 0 | 59 | 1.9667 | 5000 | -1.6667 | Bldg Not worth $5K | -3 | General public access | 0 | 0 | -70.7 | Disposal | Not Used | Dispose 1997
Saxton Peak Comm. Site
#04091629-Comm. Bldg | 30 | 1965 | 31 | 20 | 0 | 0 | 15 | 0.5 | 5000 | -1.6667 | Needs Repairs | -3 | Lighting Protection | 0 | 0 | 14.8333 | Maintain | See Merritt Mtn
Bald Mtn Comm. Site
#04091626-Comm. Bldg. | 30 | 1965 | 31 | 20 | 0 | 0 | 110 | 3.6667 | 0 | 0 | New Bldg. | -3 | Lighting protection | 0 | 0 | 19.6667 | Maintain | See Merritt Mtn
Mount Hamilton Comm Site
#04091627-Comm. Bldg. | 30 | 1965 | 31 | 20 | 0 | 0 | 63 | 2.1 | 10000 | -3.3333 | Needs major repairs | -3 | lightning protection | 0 | 0 | 14.7667 | Maintain | See Merritt Mtn.
Worthington Peak Comm. Site
#04091633-Comm. Bldg. | 30 | 1965 | 31 | 20 | 0 | 0 | 150 | 0 | 10000 | -3.3333 | Needs major repairs | -3 | lighting protection | 0 | 0 | 12.6667 | Maintain | See Merritt Mtn.
Total $'s Needed to Standard | [8 empty] | 298000
Santa Rosa R.D.
Paradise Valley GS
#04091109-Dwelling | 30 | 1941 | 55 | 20 | -20 | 0 | 40 | 1.3333 | 37000 | -12.3333 | See detailed list, LP | -5 | Temp users | 365 | 3.65 | -37.35 | Convert to crew Quarters & Maintain | Housing availble on private market in
#04091129-Bunkhouse | 30 | 1930 | 66 | 20 | -20 | 0 | 40 | 1.3333 | 23000 | -7.6667 | LP, Remodels | -5 | Temp users | 0 | 0 | -47.3333 | Dispose | Winnemucca. Convert Dwelling into crew quarters | Dispose 1998
#04091205-Office | 30 | 1934 | 62 | 20 | 0 | 0 | 40 | 1.3333 | 48000 | -16 | LP, Access | -3 | Temp users | 0 | 0 | -29.6667 | maintain | for temp. crews.
#04091304-Shop | 20 | 1936 | 60 | 20 | 0 | 0 | 40 | 1.3333 | 6500 | -2.1667 | LP, Exhaust | -5 | OSHA | 0 | 0 | -25.8333 | maintain
#04091305-Garage/washroom | 20 | 1936 | 60 | 20 | 0 | 0 | 40 | 1.3333 | 14500 | -4.8333 | LP, Access | -3 | OSHA | 0 | 0 | -26.5 | maintain
#04091331-Barn | 20 | 1934 | 62 | 30 | 0 | 0 | 40 | 1.3333 | 5500 | -1.8333 | LP, Minor repairs | 0 |  | 0 | 0 | -12.5 | maintain
#04091332-Gashouse/storage | 10 | 1936 | 60 | 20 | 0 | 0 | 40 | 1.3333 | 4000 | -1.3333 | LP, Minor Repairs | -3 | OSHA - Fuel Storage | 0 | 0 | -33 | Dispose & Replace
#04091353-Pumphouse | 10 | 1935 | 61 | 20 | 0 | 0 | 40 | 1.3333 | 16400 | -5.4667 | Replace Bldg. | 0 | Note used | 0 | 0 | -35.1333 | Maintain
Martin Creek GS | [17 empty] | Possibly construct trailer pad
#04091127-Dwelling | 20 | 1936 | 60 | 20 | -20 | 0 | 56 | 1.8667 | 71000 | -23.6667 | LP, Structural, Water System | -5 | Temp & other users | 150 | 1.5 | -65.3 | Disposal | Liability high. No functioning water system. | Dispose 1999
#04091330-Barn | 20 | 1936 | 60 | 20 | 0 | 0 | 56 | 1.8667 | 13000 | -4.3333 | LP, Shingles | -5 | Temp & other users | 0 | 0 | -27.4667 | Disposal | Location only 16 miles from paradise. Horse | Dispose 1999
#04091371-Cellar | 10 | 1930 | 66 | 10 | 0 | 0 | 56 | 1.8667 | 500 | -0.16667 | Cosmetic | 0 |  | 0 | 0 | -44.3 | Disposal | pasture needs to remain or find other suitable | Dispose 1999
location. Quarters rarely used by FS but
Laca Admin Site | [17 empty] | used by other agencies.
#04091128-Cabin | 10 | 1958 | 38 | 0 | -40 | 0 | 78 | 2.6 | 3000 | -1 | Disposal Cost, Bldg Dilapidated | -3 | Public can enter | 0 | 0 | -69.4 | Disposal | HAsnt been used for years | Dispose 1997
Lamance Admin Site
#04091329-Barn | 10 | 1930 | 66 | 10 | 0 | 0 | 46 | 1.5333 | 15000 | -5 | Structural | -3 | Public can enter | 0 | 0 | -52.4667 | Disposal | Hasnt been used for years. | Dispose 1998
#04091333-Cellar | 10 | 1925 | 71 | 10 | 0 | 0 | 46 | 1.5333 | 200 | -0.066667 | Signing | -5 | Powder House - OSHA | 0 | 0 | -54.5333 | Disposal |  | Dispose 1998
Granite Peak Comm. Site
#04091630-Comm. Bldg | 30 | 1960 | 36 | 20 | 0 | 0 | 55 | 1.8333 |  | 0 | BLM Bldg. | 0 | Public can enter | 0 | 0 | 15.8333 | Permit to BLM for use | See Merritt Mtn. | 1997 Special Use Permit to BLM
Buckskin Peak Comm Site
#04091634-Comm. Bldg | 30 | 1992 | 4 | 20 | 0 | 0 | 72 | 2.4 | 5000 | -1.6667 | Needs Repairs | -3 |  | 0 | 0 | 43.7333 | Maintain | See Merritt Mtn.
Buckskin Mine Site
#04091126-Dwelling | 10 | 1917 | 79 | 10 | -40 | 0 | 70 | 2.3333 | 40000 | -13.3333 | Bldg. Not worth 40K. | -3 |  | 0 | 0 | -113 | Disposal | Not used. Liability sitting at the site. | Remove from Fac. Listing (Private Owner - Follow
Total $'s Needed to Standard | [8 empty] | 302600 | [9 empty] | Regulations to remove).
Average Bldg. Age |  |  | 45.4609
Humboldt $'s Needed Total | [8 empty] | 2165300