SECTION 01170

- ACCIDENT PREVENTION

PART 1 - GENERAL

## DESCRIPTION

#### The work of this section consists of establishing an effective accident prevention program and providing a safe environment for all personnel and visitors.

## SUBMITTALS

#### Accident Prevention Program:  Before on-site work begins, submit for approval an accident prevention program.  The Contracting Officer (CO) will review the proposed program for compliance with OSHA and project requirements.  If the program requires any revisions or corrections, the Contractor shall resubmit the program within 10 days.  No progress payments will be processed until the program is approved.  The program shall include:

##### Name of responsible supervisor to carry out the program.

##### Weekly and monthly safety meetings.

##### First aid procedures.

##### Outline of each phase of the work, the hazards associated with each major phase, and the methods proposed to ensure property protection and safety of the public, government personnel, and the Contractor's employees.  Identify the work included under each phase by reference to specification section or division numbers.

##### Training, both initial and continuing.

##### Planning for possible emergency situations, such as floods, fires, cave-ins, slides, explosions, power outages, and wind storms.  Such planning shall take into consideration the nature of construction, site conditions, and degree of exposure of persons and property.

#### Certificates:  Provide certificates from a mechanic that all mechanical equipment has been inspected and meets OSHA requirements.

#### Submit a copy of test reports, as required by OSHA, for personnel working with hazardous materials.

#### Submit a brief report of safety meetings and of inspections.

#### Upon request, submit proof of employees' qualifications to perform assigned duties in a safe manner.

## QUALITY ASSURANCE

#### Clauses entitled "Accident Prevention" and "Permits and Responsibilities" of the General Provisions.  In case of conflicts between Federal, state, and local safety and health requirements, the most stringent shall apply.  Equipment or tools not meeting OSHA requirements will not be allowed on the project sites.  Failure to comply with the requirements of this section and related sections may result in suspension of work.

#### Qualifications of Employees

##### Ensure that employees are physically qualified to perform their assigned duties in a safe manner.

##### To as great an extent as possible, do not allow employees to work whose ability or alertness is impaired because of drugs, fatigue, illness, intoxication, or other conditions that may expose themselves or others to injury.

##### Operators of vehicles, mobile equipment, hoisting equipment, and hazardous plant equipment shall be able to understand signs, signals, and operating instructions, and be capable of operating such equipment.  Provide operating instructions for all equipment.  Newly hired operators shall be individually tested by an experienced operator or supervisor to determine if they are capable of safely operating equipment.

## ACCIDENT REPORTING

#### Reportable Accidents:  A reportable accident is defined as death, occupational disease, traumatic injury to employees or the public, property damage by accident in excess of $100, and fires.  Within 7 days of a reportable accident, fill out and forward to the CO a DI-134 form, which may be obtained from CO.

#### All Other Accidents:  The Contractor shall report all other accidents to the CO as soon as possible and assist the CO and other officials as required in the investigation of the accident.

PART 2 – PRODUCTS

## FIRST AID FACILITIES:  provide adequate facilities for the number of employees and the type of construction at the site.

## PERSONNEL PROTECTIVE EQUIPMENT:  meet requirements of NIOSH and MSHA, where applicable, as well as ANSI.

## BARRIERS:  see division 1 section “Temporary Facilities and Controls” for barriers.

PART 3 – EXECUTION

## EMERGENCY INSTRUCTIONS:  post telephone numbers and reporting instructions for ambulance, physician, hospital, fire department, and police in conspicuous locations at the work site.

## ESCAPE ROUTES:  provide and maintain adequate escape routes at all times in accordance with the Life Safety Code (NFPA 101-91).  No corridor, aisle, stairway, door, or exit shall be obstructed or used in a manner that interferes with escape routes.

## PROTECTIVE EQUIPMENT

#### Inspect personal protective equipment daily and maintain in a serviceable condition.  Clean, sanitize, and repair, as appropriate, personal items before issuing them to another individual.

#### Inspect and maintain other protective equipment and devices before use and on a periodic basis to ensure safe operation.

## SAFETY MEETINGS

#### As a minimum, conduct weekly 15-minute "toolbox" safety meetings.  These meetings shall be conducted by a foreman and attended by all construction personnel at the worksite.

#### Conduct monthly safety meetings for all levels of supervision.  Notify the CO so that he may attend.  These meetings shall be used to review the effectiveness of the Contractor's safety effort, to resolve current health and safety problems, to provide a forum for planning safe construction activities, and for updating the accident prevention program.  The CO will enter the results of the meetings into his daily log.

## HARD HATS AND PROTECTIVE EQUIPMENT AREAS

#### A hard hat area will be designated by the CO.  The hard hat area shall be posted by the Contractor in a manner satisfactory to the CO.

#### It is the Contractor's responsibility to require all those working on or visiting the site to wear hard hats and other necessary protective equipment at all times.  As a minimum, provide six hard hats for use by visitors.  Change liners before reissuing hats.

## TRAINING

#### First Aid:  Provide adequate training to ensure prompt and efficient first aid.

#### Hazardous Material:  Train and instruct each employee exposed to hazardous material in safe and approved methods of handling and storage.  Hazardous materials are defined as explosive, flammable, poisonous, corrosive, oxidizing, irritating, or otherwise harmful substances that could cause death or injury.

END OF SECTION 01170