SECTION 01140

WORK RESTRICTIONS

Part 1-GENERAL

## USE OF PREMISES

#### Use of Site:  Limit use of premises to work in areas indicated.  Do not disturb portions of site beyond areas in which the Work is indicated.

##### Limits:  Confine constructions operations to area designated by the CO.

##### Government Occupancy:  Allow for Government occupancy of site for use during periods of wildfire protection activities.

##### Driveways and Entrances:  Keep driveways and entrances serving premises clear and available to Occupants, Government employees, and emergency vehicles at all times.  Do not use these areas for parking or storage of materials.

###### Schedule deliveries to minimize use of driveways and entrances.

###### Schedule deliveries to minimize space and time requirements for storage of materials and equipment on-site.

## OCCUPANCY REQUIREMENTS

#### Full Government Occupancy:  Government will occupy site during entire construction period.  Cooperate with Government during construction operations to minimize conflicts and facilitate Government usage.  Perform the Work so as not to interfere with Government operations.

PART 2- PRODUCTS (Not Used)

PART 3- EXECUTION (Not Used)

END OF SECTION 01140