SECTION 01400

- QUALITY REQUIREMENTS

part 1 - GENERAL

## SUMMARY

#### This Section includes administrative and procedural requirements for quality assurance and quality control.

#### Testing and inspecting services are required to verify compliance with requirements specified or indicated.  These services do not relieve Contractor of responsibility for compliance with the Contract Document requirements.

##### Specified tests, inspections, and related actions do not limit Contractor's quality-control procedures that facilitate compliance with the Contract Document requirements.

##### Requirements for Contractor to provide quality-control services required by Contracting Officer (CO), or authorities having jurisdiction are not limited by provisions of this Section.

#### See Divisions 2 through 16 Sections for specific test and inspection requirements.

## DEFINITIONS

#### Quality-Assurance Services:  Activities, actions, and procedures performed before and during execution of the Work to guard against defects and deficiencies and ensure that proposed construction complies with requirements.

#### Quality-Control Services:  Tests, inspections, procedures, and related actions during and after execution of the Work to evaluate that completed construction complies with requirements.  Services do not include contract enforcement activities performed by CO.

#### Testing Agency:  An entity engaged to perform specific tests, inspections, or both.  Testing laboratory shall mean the same as testing agency.

## SUBMITTALS

#### Qualification Data:  For testing agencies specified in "Quality Assurance" Article to demonstrate their capabilities and experience.  Include proof of qualifications in the form of a recent report on the inspection of the testing agency by a recognized authority.

#### Reports:  Prepare and submit certified written reports that include the following:

##### Date of issue.

##### Project title and number.

##### Name, address, and telephone number of testing agency.

##### Dates and locations of samples and tests or inspections.

##### Names of individuals making tests and inspections.

##### Description of the Work and test and inspection method.

##### Identification of product and Specification Section.

##### Complete test or inspection data.

##### Test and inspection results and an interpretation of test results.

##### Ambient conditions at time of sample taking and testing and inspecting.

##### Comments or professional opinion on whether tested or inspected Work complies with the Contract Document requirements.

##### Name and signature of laboratory inspector.

##### Recommendations on retesting and reinspecting.

#### Permits, Licenses, and Certificates:  For CO’s records, submit copies of permits, licenses, certifications, inspection reports, releases, jurisdictional settlements, notices, receipts for fee payments, judgments, correspondence, records, and similar documents, established for compliance with standards and regulations bearing on performance of the Work.

## QUALITY ASSURANCE

#### Fabricator Qualifications:  A firm experienced in producing products similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

#### Factory-Authorized Service Representative Qualifications:  An authorized representative of manufacturer who is trained and approved by manufacturer to inspect installation of manufacturer's products that are similar in material, design, and extent to those indicated for this Project.

#### Installer Qualifications:  A firm or individual experienced in installing, erecting, or assembling work similar in material, design, and extent to that indicated for this Project, whose work has resulted in construction with a record of successful in-service performance.

#### Professional Engineer Qualifications:  A professional engineer who is legally qualified to practice in jurisdiction where Project is located and who is experienced in providing engineering services of the kind indicated.  Engineering services are defined as those performed for installations of the system, assembly, or product that are similar to those indicated for this Project in material, design, and extent.

#### Testing Agency Qualifications:  An agency with the experience and capability to conduct testing and inspecting indicated, as documented by ASTM E 548, and that specializes in types of tests and inspections to be performed.

## QUALITY CONTROL

#### Contractor Responsibilities:  Unless otherwise indicated, provide quality-control services specified and required by authorities having jurisdiction.

##### Where services are indicated as Contractor's responsibility, engage a qualified testing agency to perform these quality-control services.

###### Contractor shall not employ the same entity engaged by the Government, unless agreed to in writing by CO.

##### Notify testing agencies at least 48 hours in advance of time when Work that requires testing or inspecting will be performed.

##### Where quality-control services are indicated as Contractor's responsibility, submit a certified written report, in duplicate, of each quality-control service.

##### Testing and inspecting requested by Contractor and not required by the Contract Documents are Contractor's responsibility.

##### Submit additional copies of each written report directly to authorities having jurisdiction, when they so direct.

#### Special Tests and Inspections:  Contractor will engage a testing agency to conduct special tests and inspections required by authorities having jurisdiction as the responsibility of Contractor.

##### Testing agency will notify CO and Contractor promptly of irregularities and deficiencies observed in the Work during performance of its services.

##### Testing agency will submit a certified written report of each test, inspection, and similar quality-control service to CO with copy to Contractor and to authorities having jurisdiction.

##### Testing agency will submit a final report of special tests and inspections at Substantial Completion, which includes a list of unresolved deficiencies.

##### Testing agency will interpret tests and inspections and state in each report whether tested and inspected work complies with or deviates from the Contract Documents.

##### Testing agency will retest and reinspect corrected work.

#### Manufacturer's Field Services:  Where indicated, engage a factory-authorized service representative to inspect field-assembled components and equipment installation, including service connections.  Report results in writing.

#### Retesting/Reinspecting:  Regardless of whether original tests or inspections were Contractor's responsibility, provide quality-control services, including retesting and reinspecting, for construction that revised or replaced Work that failed to comply with requirements established by the Contract Documents.

#### Testing Agency Responsibilities:  Cooperate with CO and Contractor in performance of duties.  Provide qualified personnel to perform required tests and inspections.

##### Notify CO and Contractor promptly of irregularities or deficiencies observed in the Work during performance of its services.

##### Interpret tests and inspections and state in each report whether tested and inspected work complies with or deviates from requirements.

##### Submit a certified written report, in duplicate, of each test, inspection, and similar quality-control service through Contractor.

##### Do not release, revoke, alter, or increase requirements of the Contract Documents or approve or accept any portion of the Work.

##### Do not perform any duties of Contractor.

#### Associated Services:  Cooperate with agencies performing required tests, inspections, and similar quality-control services, and provide reasonable auxiliary services as requested.  Notify agency sufficiently in advance of operations to permit assignment of personnel.  Provide the following:

##### Access to the Work.

##### Incidental labor and facilities necessary to facilitate tests and inspections.

##### Adequate quantities of representative samples of materials that require testing and inspecting.  Assist agency in obtaining samples.

##### Facilities for storage and field-curing of test samples.

##### Preliminary design mix proposed for use for material mixes that require control by testing agency.

##### Security and protection for samples and for testing and inspecting equipment at Project site.

#### Coordination:  Coordinate sequence of activities to accommodate required quality-assurance and quality-control services with a minimum of delay and to avoid necessity of removing and replacing construction to accommodate testing and inspecting.

##### Schedule times for tests, inspections, obtaining samples, and similar activities.

part 2 - PRODUCTS (Not Used)

part 3 – EXECUTION

## REPAIR AND PROTECTION

#### General:  On completion of testing, inspecting, sample taking, and similar services, repair damaged construction and restore substrates and finishes.

##### Provide materials and comply with installation requirements specified in other Sections of these Specifications.  Restore patched areas and extend restoration into adjoining areas in a manner that eliminates evidence of patching.

##### Comply with the Contract Document requirements for Division 1 Section "Cutting and Patching."

#### Protect construction exposed by or for quality-control service activities.

#### Repair and protection are Contractor's responsibility, regardless of the assignment of responsibility for quality-control services.

END OF SECTION 01400