RAPPEL TOWER

ENGINEERING INSPECTION REPORT

| Tower Name | Missoula AFD Rappel Tower |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Date Inspected |  |  |  |  |  |
| Inspected By |  |  |  |  |  |
| Photos Taken? | Yes |  | No |  |  |
| Previous Inspections: |  |  |  |  |  |
| Inspection Date | Inspected By |  |  |  |  |

Complete and attach a copy of the Rappel Tower Engineering Inspection Checklist Form to this inspection report.

Attach photos taken.

The following items were identified on this inspection:

RAPPEL TOWER

ENGINEERING INSPECTION

CHECKLIST FORM

(To be completed by Engineering Inspector)

| Tower Name | Missoula AFD Rappel Tower |
| --- | --- |
| Date of Inspection |  |
| Inspected By |  |

| Conditions | Yes | No | Remarks |
| --- | --- | --- | --- |
| Tower |  |  |  |
| Is the tower being inspected every 24 months by the Regional Bridge Engineer or a qualified structural engineer? |  |  |  |
| Did they find any problem or concerns that needed to be fixed? |  |  |  |
| Have all these problems or concerns been fixed or addressed? |  |  |  |
| Have they provided the Helibase with an inspection report for your records? |  |  |  |
| Are all faying surfaces at all connections in firm contact? |  |  |  |
| Are all grating properly installed with adequate attachment to supporting framework? |  |  |  |
| Are all anchor rods and bolts snug and tightened to 200 ft-lbs torque? |  |  |  |
| Is at least one full thread for all bolts and anchor rods projected beyond the face of the nut? |  |  |  |
| Have all welds been visual inspected for any distortion or signs of distress? |  |  |  |
| Are “X” bracing rods installed under tension with no detectable sag? |  |  |  |
| Are all members square, true and plum? Note any changes in square, elevation and plumb. |  |  |  |
| Have all the handrails/guardrails been inspected? |  |  |  |
| Are all open areas (above 4 feet) protected with guardrails? |  |  |  |
| Are toe boards installed in all areas where personnel could pass underneath? |  |  |  |
| Are all landings and tower decks free of trip/slip hazards (e.g., water, snow, ice, and protruding bolts)? |  |  |  |
| Do all stairs comply with Occupational Safety and Health Administration standards? |  |  |  |
| Are all areas that pose a trip or head hazard marked in yellow? |  |  |  |
| Do all gates have properly working closing mechanisms and latches? |  |  |  |
| Have all the anchor points for rappelers and spotters been removed and replaced and have new hardware been installed per manufacturer’s recommendations? |  |  |  |
| Have all bolt holes for attachment of removable members been inspected and free from distortion? |  |  |  |
| Has the simulator been inspected to verify that it has not moved with relation to the tower? |  |  |  |
| Have the galvanized members been visually inspect for damage to galvanizing and possible corrosion? |  |  |  |
| Is the landing area free of obstructions and hazards? |  |  |  |
| Has the landing area been loosened up prior to use? |  |  |  |
| Are there hazard trees near the tower that could pose a hazard? |  |  |  |
| Is lightning protection system intact and functional? |  |  |  |
| Is the aircraft warning light system working? |  |  |  |
| Has regularly scheduled maintenance been performed? |  |  |  |
| Simulator |  |  |  |
| Are all faying surfaces at all connections in firm contact? |  |  |  |
| Are all grating properly installed with adequate attachment to supporting framework? |  |  |  |
| Are all bolts snug and tightened to 200 ft-lbs torque? |  |  |  |
| Have all welds been visual inspected for any distortion or signs of distress? |  |  |  |
| Are all members square, true and plum? Note any changes in square, elevation and plumb. |  |  |  |
| Do all gates and doors work properly and have properly working closing mechanisms and latches? |  |  |  |
| Have the members been visually inspected for damage to finishes and possible corrosion? |  |  |  |
| Verify that all weep holes are clear. Check for staining at weep points that would indicate corrosion |  |  |  |
| Have all the anchor points for rappellers and spotters been removed and NDT’d or replaced on an annual basis and been installed per manufacturer’s recommendations? |  |  |  |
| Have all long and short plates, skid and J step been inspected on an annual basis? Include non-destructive testing method to identify cracks (minimum to be liquid dye penetration testing), check for bend, twist and racking. |  |  |  |
| Are all grating properly fastened to supporting framework? |  |  |  |
| Have all bolt holes for attachment of removable members been inspected and free from distortion? |  |  |  |
| Has the simulator been inspected to verify that it has not moved with relation to the tower? |  |  |  |
| Other Items Noted: |  |  |  |