US Forest Service

# Missoula Rappel Tower

# Geotechnical Engineering

# Scope of Work

Scope: The US Forest Service proposes to contract geotechnical investigation to conduct fieldwork and soil investigation, perform laboratory tests and soil borings resulting in a complete soils report and foundation recommendation.

Project Location and Site:	Missoula Aerial Fire Depot

5765 Highway 10 West

Missoula, MT 59808

Lat. 46.9163056 Long. -114.0905556

Background: The project is a steel rappel tower constructed of W and HSS sections and will be approximately 33 feet tall by 18 feet wide by 18 feet long (see attached picture).  The columns will be steel W sections on steel base plates on concrete foundations on soil.  The site is on non-engineered fill material of depth of 0 to 8 feet. The nature of the geotechnical investigation is to perform site specific testing to determine if this land will support the intended tower.  Conclusions of the soils report will be the basis for the rappel tower foundation.  Additionally, it will be used with other reports to determine total tower costs.

Standards and Seismic Design:  The geotechnical investigation for the Missoula Rappel Tower shall meet the requirements of the 2006 International Building Code.  A copy is attached.  The Forest Service has assumed a Site Class D for the soil for the proposed tower.  This results in a Seismic Design Category D for tower.  If worse soil conditions are encountered, the contractor will notify the Forest Service as soon as possible, so that the geotechnical investigation may be reevaluated.

Before You Dig:  The contractor shall contact One Call Locators (1-800-424-5555) before performing on-site work.

Services/Work to be Completed:  The following work will be performed under this contract, but not limited to other testing that may be needed:

- Conduct 2-4 soil borings to a maximum depth of 20 feet or until refusal, if less.

- Base bid for the geotechnical investigation shall be 2 borings at opposite corners of the tower as staked.

- Optional bid price for two additional borings at the other corner locations, if the initial borings are not consistent.

- The location of the tower will be staked in the field prior to the geotechnical investigation.  All locations have vehicular access.

Deliverables: The contractor shall deliver to the Forest Service the following Professional Engineering stamped documents:

- A complete soils report as identified in Section 1802.6 Reports and including soil types classification, seismic design category, sieve analysis, frost depth, ground water depth, if encountered, and native ground depth.

Schedule:  The contract shall have 14 calendar days to complete the fieldwork, once the “Notice to Proceed” has been issued.  A draft report shall be delivered or faxed to the Forest Service within 7 calendar days after the fieldwork.  Upon review of the draft by the Forest Service, the final report shall be submitted within 7 calendar days.

Payment:  Payment will be made on a Lump Sum Basis at 100% completion of the work.

SECTION 1802 FOUNDATION AND SOILS INVESTIGATIONS

1802.1 General. Foundation and soils investigations shall be conducted in conformance with Sections 1802.2 through 1802.6. Where required by the building official, the classification and investigation of the soil shall be made by a registered design professional.

1802.2 Where required. The owner or applicant shall submit a foundation and soils investigation to the building official where required in Sections 1802.2.1 through 1802.2.7.

Exception: The building official need not require a foundation or soils investigation where satisfactory data from adjacent areas is available that demonstrates an investigation is not necessary for any of the conditions in Sections 1802.2.1 through 1802.2.6.

1802.2.1 Questionable soil. Where the classification, strength or compressibility of the soil are in doubt or where a load-bearing value superior to that specified in this code is claimed, the building official shall require that the necessary investigation be made. Such investigation shall comply with the provisions of Sections 1802.4 through 1802.6.

1802.2.2 Expansive soils. In areas likely to have expansive soil, the building official shall require soil tests to determine where such soils do exist.

1802.2.3 Ground-water table. A subsurface soil investigation shall be performed to determine whether the existing ground-water table is above or within 5 feet (1524 mm) below the elevation of the lowest floor level where such floor is located below the finished ground level adjacent to the foundation.

Exception: A subsurface soil investigation shall not be required where waterproofing is provided in accordance with Section 1807.

1802.2.4 Pile and pier foundations. Pile and pier foundations shall be designed and installed on the basis of a foundation investigation and report as specified in Sections 1802.4 through 1802.6 and Section 1808.2.2.

1802.2.5 Rock strata. Where subsurface explorations at the project site indicate variations or doubtful characteristics in the structure of the rock upon which foundations are to be constructed, a sufficient number of borings shall be made to a depth of not less than 10 feet (3048 mm) below the level of the foundations to provide assurance of the soundness of the foundation bed and its load-bearing capacity.

1802.2.6 Seismic Design Category C. Where a structure is determined to be in Seismic Design Category C in accordance with Section 1613, an investigation shall be conducted and shall include an evaluation of the following potential hazards resulting from earthquake motions: slope instability, liquefaction and surface rupture due to faulting or lateral spreading.

1802.2.7 Seismic Design Category D, E or F. Where the structure is determined to be in Seismic Design Category D, E or F, in accordance with Section 1613, the soils investigation requirements for Seismic Design Category C, given in Section 1802.2.6, shall be met, in addition to the following. The investigation shall include:

1. A determination of lateral pressures on basement and retaining walls due to earthquake motions.

2. An assessment of potential consequences of any liquefaction and soil strength loss, including estimation of differential settlement, lateral movement or reduction in foundation soil-bearing capacity, and shall address mitigation measures. Such measures shall be given consideration in the design of the structure and can include but are not limited to ground stabilization, selection of appropriate foundation type and depths, selection of appropriate structural systems to accommodate anticipated displacements or any combination of these measures. The potential for liquefaction and soil strength loss shall be evaluated for site peak ground acceleration magnitudes and source characteristics consistent with the design earthquake ground motions. Peak ground acceleration shall be determined from a site-specific study taking into account soil amplification effects, as specified in Chapter 21 of ASCE 7.

Exception: A site-specific study need not be performed, provided that peak ground acceleration equal to SDS/2.5 is used, where SDS is determined in accordance with Section 21.2.1 of ASCE 7.

1802.3 Soil classification. Where required, soils shall be classified in accordance with Section 1802.3.1 or 1802.3.2.

1802.3.1 General. For the purposes of this chapter, the definition and classification of soil materials for use in Table 1804.2 shall be in accordance with ASTM D 2487.

1802.3.2 Expansive soils. Soils meeting all four of the following provisions shall be considered expansive, except that tests to show compliance with Items 1, 2 and 3 shall not be required if the test prescribed in Item 4 is conducted:

1. Plasticity index (PI) of 15 or greater, determined in accordance with ASTM D 4318.

2. More than 10 percent of the soil particles pass a No. 200 sieve (75 µm), determined in accordance with ASTM D 422.

3. More than 10 percent of the soil particles are less than 5 micrometers in size, determined in accordance with ASTM D 422.

4. Expansion index greater than 20, determined in accordance with ASTM D 4829.

1802.4 Investigation. Soil classification shall be based on observation and any necessary tests of the materials disclosed by borings, test pits or other subsurface exploration made in appropriate locations. Additional studies shall be made as necessary to evaluate slope stability, soil strength, position and adequacy of load-bearing soils, the effect of moisture variation on soil-bearing capacity, compressibility, liquefaction and expansiveness.

1802.4.1 Exploratory boring. The scope of the soil investigation including the number and types of borings or soundings, the equipment used to drill and sample, the in-situ testing equipment and the laboratory testing program shall be determined by a registered design professional.

1802.5 Soil boring and sampling. The soil boring and sampling procedure and apparatus shall be in accordance with generally accepted engineering practice. The registered design professional shall have a fully qualified representative on the site during all boring and sampling operations.

1802.6 Reports. The soil classification and design load-bear-ing capacity shall be shown on the construction document. Where required by the building official, a written report of the investigation shall be submitted that includes, but need not be limited to, the following information:

1. A plot showing the location of test borings and/or excavations.

2. A complete record of the soil samples.

3. A record of the soil profile.

4. Elevation of the water table, if encountered.

5. Recommendations for foundation type and design criteria, including but not limited to: bearing capacity of natural or compacted soil; provisions to mitigate the effects of expansive soils; mitigation of the effects of liquefaction, differential settlement and varying soil strength; and the effects of adjacent loads.

6. Expected total and differential settlement.

7. Pile and pier foundation information in accordance with Section 1808.2.2.

8. Special design and construction provisions for footings or foundations founded on expansive soils, as necessary.

9. Compacted fill material properties and testing in accordance with Section 1803.5.